Government of West Bengal

Irrigation & Waterways Directorate

Office of the Assistant Engineer-III

Purulia Irrigation Division

Bhatbandh Irrigation Colony, Ranchi Road

Purulia

Notice Inviting Quotation.

NIQ NO-2 of AE-III/PID/2021-22

Memo No:96 								                   Dated:07/06/2021

Sealed Quotations are hereby invited on prescribed format by the undersigned to ascertain unit rate of following items to be installed in several Dams under the Office of The O.S.D(S.E), I&W Dte., Purulia.

| Sl No | Description of Item | Qty | Unit | Rate (Rs.) | Amount (Rs.) |
| --- | --- | --- | --- | --- | --- |
| 1 | Casegrande porous Tube Piezometer as per IS: 7356 (Part-I) Spacification: Cassagrand Tip - 38 mm OD, 25 MM ID, 60 cm long Semi-Rigid plaster stand pipe- 27 mm OD, 17 mm ID, 1 m/3 m long | 01 | Each | In Figures & words | In Figures & words |
| 2 | Electronic Water Level indicator i/c data record & transmitter, instrument cable to transmit to control room. Specification: Depth-0-30m,50m,100m,200m tape resolution 1mm, Probe material stainless steel | 01 | Each | In Figures & words | In Figures & words |
| 3 | Supply and Installation of base plate settlement Instrument | 01 | Each | In Figures & words | In Figures & words |
| 4 | Supply & Installation of V-Notch {Water seepage Monitoring device (V-Notch type)} | 01 | Each | In Figures & words | In Figures & words |
| 5 | Supply and installation of Raingauge (measuring and recording type) | 01 | Each | In Figures & words | In Figures & words |

The quotationers should quote their rate in words and figure [including supply, installation & all ancillary work(eg. Drilling, backfilling etc.) linked to it] as per proforma given by the Office of the under signed. Quoted rate should be inclusive all taxes (No part rate will be accepted). Last date of receiveing quotation paper is 28/06/2021 up to 11.00 hrs and will opened on the same day at 11.30 hrs at Office of AE-III/PID in presence of the participating quotationers. The quotations will be accepted by the Executive Engineer, Purulia Irrigation Division however the rate will be approved by the OSD (S.E), I&W Dte.Purulia. The OSD (S.E), I&W Dte.Purulia will reserve the right to cancel each or the entire item without assigning any reason. Conditional quotations shall not be accepted.

NO EMD IS REQUIRED AS THIS NIQ IS ONLY TO ASCERTAIN UNIT RATE (BUDGETARY QUOTE).

Sd/-

Assistant Engineer-III

Purulia Irrigation Division

Memo. No. 96/      (2)

Dated:-07/06/2021

Copy forwarded to the:-

1.The O.S.D(S.E), I&W Dte., Purulia.

2.The Executive Engineer/Purulia Irrigation Division.

3.Notice board (Office of The AE-III/PID).

Sd/-

Assistant Engineer-III

Purulia Irrigation Division